St. Mary Parish

Water & Sewer Comm. 2

P.O. Box 635

Patterson, La.  70392

December 8, 2025

The Board of Commissioners met in regular session at 5:30 p.m. at the district office with President, Chris Cooper presiding.

Present: Board Members – Chris Cooper-President, Tony Hensgens-Vice President, Thomas Philbrook-Sec. Treas., Raymond Beadle and Paul Tholen.

Guests: Larry & Pam Fromenthal- Fromenthal Plumbing, Employees- Alexis Hartman, Logan Theriot, Dakota Dupuy.

Chris Cooper called the meeting to order and roll call was taken.

November’s board minutes were accepted as circulated with a motion from Tony Hensgens and a second from Raymond Beadle, motion carried.

Accounts Payable and Treasurer’s Report was accepted by motion from Thomas Philbrook and a second from Raymond Beadle, motion carried.

Logan Theriot provided the maintenance report for the month. The field has been working on breaking down daily readings from the plant to help locate water loss. The fence at the Saturn tower is being replaced to prepare for the Sanitary Survey to be conducted on December 11th. All daily routine maintenance continues.

Larry Fromenthal provided his maintenance report for the month. Larry stated that with the fire departments annual testing complete there are a few hydrants to be looked at as well as getting them updated on the map. He also stated that they started the process of replacing the hydrant on Moon and Saturn as discussed in last month’s meeting as it wasn’t able to just be repaired. While repairing the hydrant a leaking valve was discovered and repaired. Larry and his crew have been working with the field to prepare for the Sanitary Survey. He also discussed a broken man hole on River Road that needs to be addressed. Meters at Crown Oilfield were located to prepare for changeouts. Larry stated the old sewer line on Arlington has fresh water getting into it, they dug it up, and made the necessary repairs.

Tony Hensgens gave a joint plant update. He stated that the plant is running well and that they are still wanting to acquire underground storage which would be very beneficial for the plant itself, they are just waiting on grant money.

Chris discussed that they are still waiting to hear back on Capital Outlay.

He also discussed that the office has been preparing for the Sanitary Survey on December 11th.

Renewal of the medical insurance from Blue Cross Blue Shield was accepted by motion from Thomas Philbrook and a second from Paul Tholen, motion carried.

The board discussed with the office staff the current issues with repeat customers having their meter lids and satellite dishes replaced multiple times. It was determined the first replacement will be no additional charge to the customer; each additional replacement will then be charged back to the customer at cost along with a labor fee.

There being no further business to come before the board, a motion was made by Tony Hensgens to adjourn with a second from Thomas Philbrook, all were in favor and motion passed.

_____________________   					_______________________

Chris Cooper- President               		                      Dakota Dupuy – Recording Secretary