St. Mary Parish

Water & Sewer Comm. 2

P.O. Box 635

Patterson, La.  70392

November 10th, 2025

The Board of Commissioners met in regular session at 5:30 p.m. at the district office with President, Chris Cooper presiding.

Present: Board Members – Chris Cooper-President, Tony Hensgens-Vice President, Raymond Beadle and Paul Tholen.

Absent - Thomas Philbrook-Sec. Treas

Guests: Larry & Pam Fromenthal- Fromenthal Plumbing, Reid Miller- Miller Engineers, Gerald Price- BVVFD Chief, Employees- Alexis Hartman, Logan Theriot, Dakota Dupuy.

Chris Cooper called the meeting to order and roll call was taken.

September’s board minutes were accepted as circulated with a motion from Tony Hensgens and a second from Raymond Beadle, motion carried.

October’s board minutes were accepted as circulated with a motion from Tony Hensgens and a second from Paul Tholen, motion carried.

Accounts Payable and Treasurer’s Report was accepted by motion from Raymond Beadle and a second from Paul Tholen, motion carried.

Logan Theriot provided the maintenance report for the month. The field has been working on updating sample sites and completed year-end inventory. LDH will be at the office on December 11th to perform the Sanitary Survey. Logan stated they discovered a water leak on Pluto, and with the help of Fromenthal Plumbing it has been fixed. All daily routine maintenance continues.

Larry Fromenthal provided his maintenance report for the month. He completed two of the larger change outs for Cameron. Larry’s crew also worked with Byco Electric to repair the Fairview sewer pump station that went down due to a burnt panel. Larry stated a fire hydrant on Saturn & Moon needed to be replaced, he will install a new hydrant, cap it off and reseal it. The smoke testing was completed on David & Teche Rd. there are two main areas to be addressed. The fire departments annual testing went well on hydrants.

Tony Hensgens gave a joint plant update. He stated that the plant is running well and that they are still wanting to acquire underground storage which would be very beneficial for the plant itself.

Reid Miller gave an update on Capital Outlay; he stated that it was submitted before the deadline and the request for letters of support have been submitted as well.

A motion was made by Paul Tholen with a second from Raymond Beadle to amend the agenda to add Gerald Price with Bayou Vista Volunteer Fire Department.

Gerald Price discussed the annual fire hydrant testing results, the PIL rating went from class 6 to class 4, which is a great improvement and they are happy with the outcome.

The Walmart program that the office uses has ended, so the board has discussed finding a new credit card for everyday office supplies. The board voted to table the discussion until the next meeting.

Employee salaries were discussed and increased. With a motion from Raymond Beadle and a second from Paul Tholen, motion carried.

The proposed budget for the 2025-2026 year was accepted with a motion from Tony Hensgens and a second from Paul Tholen, motion carried.

Chris reminded everyone that their yearly ethics and sexual harassment training needs to be completed per the Parish Council.

There being no further business to come before the board, a motion was made by Raymond Beadle to adjourn with a second from Tony Hensgens, all were in favor and motion passed.

_____________________   					_______________________

Chris Cooper- President               		                      Alexis Hartman – Recording Secretary