St. Mary Parish

Water & Sewer Comm. 2

P.O. Box 635

Patterson, La.  70392

February 9th, 2026

The Board of Commissioners met in regular session at 5:30 p.m. at the district office with President, Chris Cooper presiding.

Present: Board Members – Chris Cooper-President, Tony Hensgens-Vice President, Thomas Philbrook-Sec. Treas. and Paul Tholen.

Absent: Raymond Beadle

Guests: Larry & Pam Fromenthal- Fromenthal Plumbing, Allen Dupont, Employees- Alexis Hartman, Dakota Jones and Logan Theriot.

Chris Cooper called the meeting to order and roll call was taken.

January’s board minutes were accepted as circulated with a motion from Thomas Philbrook and a second from Tony Hensgens, motion carried.

Accounts Payable and Treasurer’s Report was accepted by motion from Tony Hensgens and a second from Paul Tholen, motion carried.

Public Comment: Allen Dupont discussed with the board his master meter accounts from the full system change out.

Logan Theriot provided the maintenance report for the month. The field has been completing their regular monthly maintenance. The check list of meters to confirm they are in good shape after the total meter change is still being completed. Water loss is still being worked on.

Larry Fromenthal provided his maintenance report for the month. Larry and his crew repaired a leak on Clarke Rd. They did a clean out and repair on the David Rd sewer line. We had a major line break on Teche Rd that was repaired. MC Bank on Southeast Blvd. was having sewer issues. They need to have a clean out installed and then finish running a camera. A vacuum truck was brought in to make sure everything was cleaned out.

The board discussed the current water loss. Chris stated we don’t know yet if the main line break on Teche will attribute to our water loss, however the daily readings for the plant have gone down since the repair. Larry has asked the fire dept to communicate with the office when filling trucks or using hydrants for loss.

Larry stated he would like to say thank you to Berwick – Bayou Vista Joint Water Plant on working so closely with him and the office on the daily numbers and loss.

Tony Hensgens gave a joint plant update; he stated a clarifier will need to be replaced in the future.

Chris reminded all board members that since it is a new calendar year, Sexual Harassment and Ethics training need to be completed.

We are still waiting on an update regarding Capital Outlay.

The Parish Council has sent a notice to increase sanitation from $23.32 to $24.80 effective February 1, 2026.

One of the current work trucks has a transmission issue, that is covered by warranty. Its currently at the shop waiting on parts.

There being no further business to come before the board, a motion was made by Paul Tholen to adjourn with a second from Thomas Philbrook, all were in favor and motion passed.

_____________________   					_______________________

Chris Cooper- President               		                  Dakota Jones – Recording Secretary